## Slide 1: Rack Power Distribution
Rack PDU Training
Thomas Hofbauer
Product Manager

## Slide 2
  Strategic Link: Data Center Sales & Support
  Market Opportunity: Large & Growing
  Market Leading Technology: What You Have! Liebert MPX & Now MPH2
Why Focus on Rack PDUs?

## Slide 3
Server
Rack PDU
PDU Rack
UPS
Power
Power
Management Tools:
Trellis, RPM, Nform, SystemCenter, Servers manufacturer Solutions, etc.
Power
Rack PDUs – A Strategic Link
Power
Power
Power
Power

## Slide 4
Emerson Network Power
Rack PDU Portfolio 2014
Strengthened, Unified & Market Leading Portfolio in 2014
Common Platform leverages all benefits of existing Avocent, Liebert and Knurr platforms
Brand | Emerson Network Power |  | 
Model / Capabilities | DI-STRIP | MPH2 | MPX
Basic AC Power | Y | Y | Y
Strip Level Metering | Y | Y | Y
Outlet Level Metering |  | Y | Y
Outlet Switching |  | Y | Y
Adaptive Power |  |  | Y
 | Basic | Managed | Adaptive

## Slide 5: And now…..MPH2 Market Leading Managed PDU
Flexible Position Input Power Cord
Low profile circuit breaker – Overall low profile design
On-board display – with basic info
Local display – with Advanced diagnostics
Communications Module (RPC2) – Broadly extended capabilities
Locking outlets & cords

## Slide 6: Market Trends & Macro Level Data Center Challenges
Infrastructure Management
Heat Density
Availability
Energy Efficiency
Power Density
Source: Data Center Users’ Group Survey
Virtualization,
Cloud
Increasing Demand
Reduced Budget
Higher
Density
Regulation Compliance
IT Outsourcing
Consolidation
Efficiency &
Green initiatives
External forces changing the business climate
Business & technology
forces pressing on the data center
Facility Challenges

## Slide 7: Emerson Rack Power Advantage
Easier Physical & Electrical Integration
Preinstallation in ENP Rack Solutions
Simplified Integration with Management Tools
Simple fit into most enterprise networks
Optimized Energy & Capacity Management
Highly accurate metering
High Availability Focus
Adaptive Architecture
Designed for ensured distribution
Lowest energy consumption
Centralized reports
Out of band management
Special Knürr DCM Rack fastening w/o tools
One stop shop for all configurations
Robust design and Proactive notifications
Part of IT Access and Control / DCIM solution
Strongly Aligned with all Datacenter Challenges

## Slide 8: Designed for High Availability
 | Feature | Value
Robust Design | High temperature rating | Reliable operation within hot aisles
 | 100% Rated Magnetic Hydraulic Circuit breakers | Minimize nuisance tripping due to temp. changes & minor overloads
Proactive Monitoring | Warning and Critical thresholds | Notification of impending problems
 | Integrated Environmental Monitoring | Monitors hot spots and potential issues
 | Software Electronic Overcurrent Protection | Minimizes overloads - lock unused outlets in off position when thresholds are exceeded
Low MTTR | Bistable / Normally closed relays & Current transformers | Ensures basic power distribution is not compromised
 | Hot swappable Communications Module | Seamless upgradability

## Slide 9: MPH2 – Managed Rack PDU Focus on High Availability
General Improvements
60C max. operating temp. rating
+ Advantages Avocent PM
Redundant serial communication path
+ Advantages Liebert MPH
Communications Module (RPC2)
100% rated magnetic hydraulic circuit breaker – Low sensitivity to temp. changes & minor overloads
Current metering through CT’s - Undisturbed power path
Locking outlets (IEC-C13/19 – Optional cord)
Bi-stable relays for Switched models - Default to power delivery / Selectable sequential startup mode

## Slide 10: Optimized Energy & Capacity Mgt.
Feature | Value
+/-1% Accurate Metering of electrical parameters | Data usable for chargebacks
Outlet Level Metering | Justification to purchase new IT gear; Departmental billing
Unbalanced Phase Notification | Improved Capacity mgt.
Embedded Data Log | Baseline power consumption study of individual equipment
Integration with software applications | Visibility into energy consumption trends at all levels
Lowest power consumption of all Switched Units (MPH2) | €€ Savings; Green image

## Slide 11: Energy Savings with Switched MPH2 100 Rack Datacenter
 | Typical 24 Outlet Rack PDU | MPH2
Rack PDU power consumption (Watts) | 20 | 5
Rack PDU annual energy consumption (kWh)—24x7x365 | 176 | 44
Overall contribution to datacenter energy consumption (kWh) | 333 | 83
Cost of energy consumption (based on average cost of 15 Cent/kWh) | EUR 50 | EUR 12
Annual savings per PDU with MPH2 |  | EUR 38
Savings per PDU in 10 years | EUR 380 | 

## Slide 12: MPH2 – Managed Rack PDU Optimized Energy & Capacity Management
General Improvements
Lowest idle power consumption on all Switched models (5W) – Verses competition 18W & up
+ Advantages Avocent PM
+ Advantages Liebert MPH
Outlet Level Metered & Switched / Outlet Metered Models
Outlet grouping capability
Unbalanced phase notifications
Outlet / equipment level crest factor measurement
Embedded Data Log – Baseline individual equipment
Improved overall metering accuracy (+/- 1% V/A)

## Slide 13: Simplified Rack PDU Manageability
Feature | Value
Flexible Local display | Advanced diagnostics at the rack
Monitoring of upto 4 PDU’s within a Rack PDU Array | Minimize IP addresses
Support for all major modes of management: Web UI, CLI w/ SSH, Telnet, SNMP | Choice of preferred management method
Support for all major Remote Authentication protocols (LDAP, Active Directory, Radius, TACACS, Kerberos | Easy fit into existing authentication architecture
IPv4 & IPv6 support | Future proof

## Slide 14: Centralized Rack PDU Management Rack Power Manager
Individual and comparative power consumption / environmental reports
Mass configuration capabilities
Centralized authorization, authentication and auditing tool for all Rack PDU’s
Centralized power control
Scheduled tasks
Hub & spoke architecture for higher availability

## Slide 15: Seamless Appliance Integration
Supported appliances
ACS Serial console
MergePoint Unity (KVM Switch)
Universal Management Gateway
Benefits
Minimize IP addresses
Out of band communications
Redundant communication path
Consolidated management of all rack based equipment
Simplified association of IT equipment to Rack PDU outlets

## Slide 16: Leveraging Investment through DCIM Integration
DSView4 : Datacenter Access and Control Solution
Nform & SiteScan: Consolidated Datacenter Critical equipment monitoring
Trellis: Comprehensive Datacenter Infrastructure Management Solution

## Slide 17: MPH2 – Managed Rack PDU Seamless DCIM Integration & Manageability
General Improvements
All configuration capabilities available through Web UI, CLI and SNMP
Cisco Like Command Line Interface – Preferred by Network & Linux admin’s
+ Advantages Avocent PM
Improved sensor integration - Temp, humidity & dry contact, Modular & Integrated sensors
Communications Module (RPC2)
+ Advantages Liebert MPH
Security Features: Remote Authentication – LDAP, Radius, Active Directory, etc.; IPv6 Support; SSH
Full DSView & RPM integration
Serial integration with Avocent ACS, MPU
Mass FW update & Configuration templates
Local Display – Advanced diagnostics
On-board Display – Basic info
RPC2: Backwards Compatible & Hot-swappable!
NEW MPX Capabilities with RPC2!

## Slide 18: Easier Physical & Electrical Integration
Ability to ship preinstalled in racks
Special Knürr DCM Rack fastening without tools
Preinstalled toolless mounting buttons
Support for all EMEA voltage and amperage, 1-ph/3-ph
Vertical and horizontal solutions

## Slide 19: MPH2 – Managed Rack PDU Easier Physical & Electrical Integration
General Improvements
Higher outlet count (Up to 42) for Aggregate Metered
Slim profile circuit breakers
Hardwired input power models
Flexible position input power cord entry
+ Advantages Avocent PM
Higher C19 outlets (6/12) in 0U models
+ Advantages Liebert MPH
Outlet Level Metered & Switched and Outlet Metered Models
Broader range: Stock/Standard & Configured designs
Reduced cross sectional area – 56mm x 50mm

## Slide 20
Emerson Network Power
MPH2 Portfolio
Brand | Emerson Network Power MPH2 |  |  | 
Model / Capabilities | MPH2R | MPH2M | MPH2C | MPH2B
Strip Level Metering | Y | Y | Y | Y
Outlet Level Metering | Y | Y |  | 
Outlet Switching | Y |  | Y | 

## Slide 21
Local Display (RPC-BDM)
Bus Bar (MPX-PRC)
Output Module
(MPX-BRM)
Input Module (MPX-PEM)
2 lengths:
  1035 mm
  1880 mm
With power and communication bus
T-slot on rear for optimal rack installation
Local monitoring for up to 4 PDUs
Connected to PDU
In the rack or outside
Different versions:
  IEC, Schuko or NEMA outputs
  Elementary, Branch Monitoring or Receptacle Management
Circuit Breaker Protection
Hot-Swap Module
Different versions:
  Fixed feed: 3-ph and 1-ph
  16A, 32A or 63A
Remote measurement via monitoring card (not Elementary PEM)
Not hot-swappable
Sensors
Temperature
Humidity
Door contacts/
input contacts
MPX – Market Leading Technology Adaptive PDU: Responding to Dynamic Rack Environments
Notes: 21
Expanded explanation of products

## Slide 22: Adaptive Rack PDU MPX
MPX Elementary:
Modular power distribution without measurement and control functions.
MPX Elementary Phase Monitored:
Modular power distribution with measurement on the input. Can be upgraded with corresponding output module.
MPX Branch Monitored:
Modular power distribution with measurement on the input as well as per output module. Can be upgraded/downgraded with corresponding output module.
MPX Receptacle Managed:
Modular power distribution with measurement on the input, per output module as well as per output. In addition, the individual outlets can be cycled on and off remotely. Can be downgraded with corresponding output module.

## Slide 23: Rack PDU MPX

## Slide 24
MPX: Monitoring & Management
Strip Level Monitoring – Aggregate monitoring information (Volts, KW, Amps, KW-hr) about entire strip.
Branch Module Monitoring – Aggregate monitoring information (Volts, kW, Amps, kW-hr, Apparent power, Power factor) about an individual module (collective receptacles – “Branch”). (*)
Receptacle Monitoring & Control – Discrete monitoring information (Volts, kW, Amps, kW-hr, Apparent power, Power factor, Frequency) for each individual receptacle on the module AND On-Off-Reboot capabilities.
Note: Available on Receptacle Management version BRM’s
Breaker
Receptacle
Legend:
Metering
Multiple Monitoring Points
Individual Management
  PDU Explorer ™
  Device Explorer ™
Energy Monitoring (kWh)
Alarm & Thresholds
T/H Sensors (Opt.)
Current & Voltage Metering to +/-1% Accuracy
Assured Operational Oversight

## Slide 25: Adaptive Rack PDU MPX New communication card RPC2
New Features:
Cisco Like Command Line Interface – Preferred by Network & Linux admin’s
All configuration capabilities available through Web UI, CLI and SNMP
Security Features: Remote Authentication – LDAP, Radius, Active Directory, etc.; IPv6 Support; SSH
Serial integration with Avocent ACS, MPU
Full DSView & RPM integration
Mass FW update & Configuration templates
Product launch: Q2 FY2015

## Slide 26: MPXTM Features
Maximum security and availability:
Redundant power supply for control electronics
Integrated data bus on the bus bar (no more cable breaks)
No external control electronics necessary
Potential failures can be detected before they occur by measuring the neutral conductor and crest factor

## Slide 27: MPX Features
Maximum flexibility and scalability:
Configure all modules according to the requirements (including the feed module)
"Hot swappable" during operation
Swappable input module (1 to 3-phase, max. 63 Amps per phase)

## Slide 28: MPX Features
Maximum power:
Max. power of 28 kVA per bar at an operating temperature of up to 60°C
Single IP address for up to 4 MPX or 24 output modules.
Different plug & play sensors
Max. power of 13.8 kVA with 3 modules
Measuring accuracy of +-1% at the output level

## Slide 29: MPX Features
Highly Efficient Data Center Management and Power Consumption
Module and sensor auto-detect function with operating software
Mobile display for reading all MPX data on the rack
Lowest possible MPX system power loss
Optical slot space display (easy server slot space identification at the push of a button)

## Slide 30
MPX – Key Features
Operating temperature +60° C
Fixed data and power bus
Measuring accuracy +-1%
Up to 4 Liebert MPX/MPH with a single IP address
External sensors: Temp/humidity/door and input contacts (max. 10 sensors)
Max. input 3x63A
Modular PDU: Input/output/sensors
Neutral conductor measurement
Output modules, communication card, sensors and the display can be switched during operation.
Notes: T: 55° important for cold/warm separation. MPX in most cases I installed in warm area.
  …..
  …..
  …..
  R: (external sensors): Doesn’t it cannibalize the sale of environmental monitoring stuff like our Knuerr RMS compact II ?
  T: Yes. But don’t worry. The MPX sensor functionality addresses just basic needs and it helps to sell those higher value MPXs to the market. The RMS has still it’s market in data centers.
  ……
  That also helps to reduce the initial costs for customers but ensure increased revenue later, step-by-step.

## Slide 31
Jury Criteria:
Innovativeness
Functionality
Ergonomics
Self-explanatory
Quality
Lifetime
Environmental friendliness
Product scope
MPX Rack PDU
Notes: T: Here is, what we’re talking about today: The award-winning bestseller MPX
  R: I’ve heard about the Red Dot Design Award: BMW5, Apple MacBook Air got the same award…That means it must be expensive?
  T: I would say - it’s highly valuable:

## Slide 32
Customer Requirement: Remote measurement per phase
Standard PDU, 3ph 32A PDU 12xC19, 6xC13: €960
Pay as you go Start with Bus Bar and PEM
Liebert MPX: PRC + PEM €135 + €327 = €462
Notes: T: (Explanation)
  R: What kind of prices did you put on the slide?
  T: Those are market prices.

## Slide 33
4 weeks later the customer installs the first server
Standard PDU, 3ph 32A PDU 12xC19, 6xC13
time 0 time 1
Standard investment €960
MPX investment €462 €184
Pay as you go
Liebert MPX – Comp.: 2 x BRMs Elementary: 2x€92 = €184
Notes: T: (Explanation)

## Slide 34
1 year later the customer installs a new server. Now he needs a PDU with switchable outputs.
Standard PDU: 1ph 16A PDU 8xC13: €440
time 0 time 1 time 2
Standard investment €960 0 €440
MPX investment €462 €184 €271
Pay as you go
Liebert MPX – Comp.: 1 x BRM Receptacle Managed 1 x €271
Notes: T: (Explanation)

## Slide 35
The client must install an additional monitoring device: €400
New Requirements: Door contacts and cooling devices to be monitored:
time 0 time 1 time 2 time 3 Total
Standard PDU: €960 0 €440 €400 €1800
MPX investment €462 €184 €271 €48 €965
Pay as you go
Liebert MPX – Comp.: 1 x dry contact: 1 x €48
Notes: T: (Explanation)
  R: I’m going to repeat: I really should think of becoming a sales guy. BTW: I like those sensors: They are available for temperature, humidity, door contact, and other dry contact input sensors.
  T: Ronny, once you became sales guy, start to sell entry level configurations – the customer will buy additional equipment anyway – so you won't have trouble with competitors' pricing.

## Slide 36: Basic Rack PDU DI-STRIP
DI-Strip Elementary
DI-Strip M
DI-Strip RM

## Slide 37
Basic Rack PDUs Mechanical Platforms
• Basic 1x16A (3.7kVA) or 3x16A (11kVA)
Robust sheet steel enclosure, even on longer housings (e.g. 41U)
Space-saving installation thanks to reduced dimensions W: 44.4mm (=1U) H: 45.5mm
• Basic 1x32A (7.36kVA) or 3x32A (22kVA)
Optimal for blade servers and high loads
Prevention of "single point of failure" through individual fuse protection
• Basic 1x32A (7.36kVA) or 3x32A (22kVA)
Optimal for blade servers and high loads
Optimal for 600mm wide cabinets thanks to
flat housing: H: 47mm W:134mm

## Slide 38
- Closed sheet steel extrusion means high stability and torsional strength
Double spring connectors for contact reliability and low contact resistance
Best conductivity: Continuous brass bus bars
Rotating current display in 90° steps with high measuring accuracy of 1% (versions M/RM only)
Individual output protection
Max. input power 3x32A ensures optimal supply of blade systems
Internationally compatible configurations and options
Rotating current display in 90° steps with high measuring accuracy of 1% (versions M/RM only)
Quick and easy rack installation requires minimum space and shorter installation times
Extremely flat housing profile provides full accessibility to the 19" level with 600mm wide server racks
- Rotating current display in 90° steps with high measuring accuracy of 1% (versions M/RM only)
DI-STRIP – Key Features

## Slide 39: Inline Metering System (IMS)
Knürr DI-STRIP IMS
Liebert MPX IMS
Knürr Modular IMS

## Slide 40: Inline Metering System (IMS) Simple Upgrade Solution
Advantages of Emerson Network Power
Inline Metering Systems (IMS):
Existing rack PDUs do not have to be swapped out because the modules are upgradeable
All consumers (where possible) can be integrated into the monitoring system thanks to the large number of available plug systems (1ph – 3ph, max 63A per phase)
Flexible installation inside or outside the rack (e.g. in the false floor)

## Slide 41: Inline Metering System MPX IMS
Features:
Familiar Liebert Rack PDU software interface because it uses the same communication card as the Liebert MPX/MPH.
Maximum security and availability with a maximum operating temperature of 60° C
Comprehensive measurement functions (power, current, voltage and energy), with high measurement accuracy of up to ± -1%
An N-conductor overload with 3-phase systems can be prevented because the N-conductor is monitored
Easily connect up to 4 Liebert MPX IMS/MPH/MPX on the network with just one IP address
External sensors and a display can also be connected

## Slide 42: Your Advantage…
Emerson Network Power offers the industry’s only complete portfolio of Adaptive, Managed and Basic Rack PDU solutions with highest levels of availability, easy integration and the energy management, simplicity and savings that make the most sense for your data center.